## ABLWA075 (2)
TRANSNET PORT TERMINALS TENDER NUMBER: TPT/2026/10/0002/115142/RFP DESCRIPTION OF THE WORKS: FOR THE PROVISION & CONTRUCTION OF THE DUST SUPPRESSION SYSTEM TO TRANSNET SOC LTD (REG.NO.1990/000900/30) OPERATING AS TRANSNET PORT TERMINALS HEREIN AFTER REFERRED TO AS “TPT” AT THE BULK TERMINAL OF SALDANHA, FOR A PERIOD OF TWELVE (12) MONTHS
ITEM NO | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
SECTION 1
PRICE LIST NO. 1
SCHEDULED ESTABLISHMENT, OVERHEADS & INCIDENTAL COSTS
The rates and prices for completing an item scheduled in this section for establishment, overheads and incidental costs include everything to cover the Contractor’s direct costs, overheads, profit and expenses required for all risks, liabilities and obligations in terms of this contract.
PLEASE NOTE: The Contractor hereby agrees that the rates in this section will be used for compensation event cost calculation and pricing where applicable instead of Defined Cost, unless otherwise decided by the Employer, at the Employer’s sole discretion. Lump sum prices in this section are fixed for the contract, and are not subject to adjustment in compensation event assessments.
All the items scheduled in this section must be priced. In the absence of a price against any item, no claim for additional costs or charges for provision of any of the duties, services, facilities or obligations required in respect of that item will be considered.
ONCE-OFF ESTABLISHMENT AND OVERHEAD COSTS
(Claimable for payment upon completion of all related activities associated with each Price)
Expenses and liabilities associated with contractual obligations as per tender document
1 | Initial costs for full compliance of all clauses of this contract and the Works Information, including inter alia performance bond (if applicable), insurances, UIF contributions, Occupational Health & Safety Act requirements and all other expenses and liabilities associated with contractual obligations | Item | 1 |  | 0
Expenses associated with site establishment
2 | Initial costs for site establishment including inter alia equipped site office, temporary fencing, storage & waste areas/structures, workshops, laboratories, accommodation, project name board, toilet & ablution facilities, services and any and all other costs related to the Contractor’s establishment on site | Item | 1 |  | 0
Expenses associated with de-establishment from site
3 | Cost for complete removal of site establishment (de-establishment) and restoration of the site to the Employer’s satisfaction at the end of the contract | Item | 1 |  | 0
ONGOING OPERATIONAL AND OVERHEAD COSTS
(Claimable for payment as time-related cost during the execution of the contract)
Expenses and liabilities associated with contractual obligations as per the tender document
4 | Ongoing operational costs and overheads (including head office overheads) for full compliance with all clauses of this contract and the Works Information, including inter alia performance bond (if applicable), insurances, UIF contributions, Occupational Health & Safety Act requirements and all other expenses and liabilities associated with contractual obligations | Week | 43 |  | 0
Costs related to the contractor’s ongoing operational costs
5 | Ongoing operational costs and overheads to maintain and operate the site establishment including inter alia equipped site office, temporary fencing, storage & waste areas/structures, workshops, laboratories, accommodation, project name board, toilet & ablution facilities, services and any and all other costs related to the Contractor’s establishment on site | Week | 43 |  | 0
SECTION 2
PRICE LIST NO. 1
EARTHWORKS
Tenderers are referred to the General Preambles for Trades 2017 as published by the Association of South African Quantity Surveyors as well as the Supplementary Preambles under the section "Works Information - Specifications, standards and workmanship"
SUPPLEMENTARY PREAMBLES
Nature of ground
Descriptions of excavations shall be deemed to include all ground conditions classifiable as "earth" where conditions of a more difficult character are indicated these are separately measured. All very hard unweathered shale, ironstone, etc, the removal of which necessitates the use of explosives or heavy duty hydraulic percussion hammers (peckers), will be classified as "hard rock"
Working space
Back excavation for working space of sides at bases, ground beams, etc is measured with the assumption that it will be required by the Principal Agent in certain cases. If it is not required, it will be adjusted as such in the final account
Site excavation
Tenderers are advised to examine the drawings and take note of all conditions which affect this part of the works. They are to note the distance and direction of run in depositing filling and are to allow in their prices for all haulage or movement of plant and/or materials as may be required
Transport for earthworks
In addition to the requirements of SANS 1200 in this regard and notwithstanding the provisions of the Standard System of Measuring Building Work, all haulage of material to and from stockpile/s and/or directly from cut areas on site (regardless of distance on site) will be regarded as freehaul and deemed to be included in the excavation rates and fill rates Prices are to include for double handling of materials which may occur either by choice of the contractor or by the nature of the works indicated on the drawings
Carting away of excavated material
Descriptions of carting away of excavated material shall be deemed to include loading excavated material onto trucks directly from the excavations or, alternatively, from stock piles situated on the building site
Filling and layer work materials
References such as "G1", "G2", etc and "C1", "C2", etc in descriptions of filling and layer work materials refer to corresponding references in the document "Guidelines for Road Construction Materials. TRH 14 : 1985" compiled by the Committee of State Road Authorities and the properties set out therein for each kind shall be applicable to the respective materials described hereinafter.
Filling
Notwithstanding the reference to prescribed multiple handling in clause 1 page 8 of the Standard System of Measuring Building Work, prices for filling and backfilling shall include for all selection and any multiple handling of material
Testing
Prices for filling are to include for all necessary density and other tests
Compaction of all "filling" and "backfilling"
Unless otherwise described, all "filling" and "backfilling" is hereby deemed to be compacted to 93% Mod. AASHTO density. In the bills of quantities, "AASHTO" is defined as meaning "American Association of State Highway and Transportation Officials" All "filling" and "backfilling" rates are deemed to include soil testing. Additional soil testing are allowed for separately and to be utilized by the engineer
Density tests on earth and other filling materials
The contractor will not be entitled to claim for the cost of density, and/or any other, tests that are required in terms of the specification of earth and other materials required for "filling" works, where such tests are a routine requirement contained in the description associated with such parts of the works, and where the costs of such tests are therefore an integral cost of the execution of such parts of the works
The contractor will only be reimbursed for the "additional" cost of density, and/or any other, tests that are specifically prescribed in terms of a contract instruction, and which tests represent additional undertaking by the contractor to that required by the aforesaid specification
Additional prescribed density tests on filling as requested by the Engineer
Allowance for additional test prescribed by the Engineer
Protection of exposed ground surfaces and stockpiles
All measures deemed necessary by the Contractor shall be undertaken to protect the exposed ground surfaces and stock piles from the elements (i.e. wind erosion, water erosion etc.). NO claims whatsoever will be entertained for imported earth filling to eroded areas and stock piles, due to neglect on behalf of the Contractor to undertake the necessary steps to protect the exposed ground surfaces and stock piles
EXCAVATION, FILLING, ETC OTHER THAN BULK
EXCAVATIONS ETC
Excavation in earth not exceeding 2m deep
1 | Reduced levels under floors | m³ | 90 |  | 0
2 | Holes | m³ | 181 |  | 0
3 | Trenches | m³ | 38 |  | 0
4 | Ground beams | m³ | 14 |  | 0
Extra over trench and hole excavation in earth for excavation in
5 | Soft rock | m³ | 24 |  | 0
6 | Hard rock | m³ | 12 |  | 0
Back excavation of vertical sides of excavations in earth for working space including backfilling compacted to 98% Mod AASHTO density
7 | Exceeding 0.5m deep and not exceeding 1.5m deep for placing and removing formwork to sides of bases, etc | m² | 318 |  | 0
Extra over all excavations for carting away
8 | Surplus material from excavations and/or stockpiles on site to a dumping site to be located by the contractor | m³ | 305 |  | 0
Risk of collapse of excavations
9 | Sides of trench and hole excavations not exceeding 1,5m deep | m² | 546 |  | 0
Keeping excavations free of water
10 | Keeping excavations free of all water other than subterranean water | Item | 1 |  | 0
De-watering of seepage water and water from other subterranean sources in excavations
11 | Keeping excavations free of subterranean water | Item | 1 |  | 0
FILLING ETC
Notwithstanding the reference to prescribed multiple handling in clause 1 page 10 of the Standard System of Measuring Building Work, prices for filling and backfilling shall include for all selection and any multiple handling of material
Earth filling obtained from the excavations and compacted to 93% Mod AASHTO density in layers not exceeding 200mm thick
12 | Under floors, steps, pavings, etc | m³ | 31 |  | 0
13 | Backfilling to trenches, holes, etc | m³ | 18 |  | 0
Earth filling supplied by the contractor under floors, etc and compacted to 95% Mod AASHTO density in layers not exceeding 150mm thick
14 | (G7) Crusher sand filling under floors, ramps, etc | m³ | 59 |  | 0
15 | (G7) Crusher sand filling to trenches, holes, etc | m³ | 111 |  | 0
16 | (G4) Crushed stone filling under floors, ramps, etc | m³ | 59 |  | 0
Compaction of surfaces
17 | Compaction of ground surface under floors, foundations etc including scarifying for a depth of 150mm, breaking down oversize material, adding suitable material where necessary and compacting to 93% Mod AASHTO density | m² | 549 |  | 0
TESTS
Prescribed tests to determine degree of compaction or other properties of ground or filling
Prices for filling are to include for all necessary density and other tests
18 | "Dynamic Cone Penetration" test | No | 16 |  | 0
19 | "Modified AASHTO Density" test | No | 16 |  | 0
SECTION 2
PRICE LIST NO. 2
CONCRETE, FORMWORK AND REINFORCEMENT
Tenderers are referred to the General Preambles for Trades 2017 as published by the Association of South African Quantity Surveyors as well as the Supplementary Preambles under the section "Works Information - Specifications, standards and workmanship"
SUPPLEMENTARY PREAMBLES
Type of cement
All cement used in concrete work is to be Ordinary Portland Cement unless otherwise indicated. OPC content to be minimum 70%
Cost of tests
The costs of making, storing and testing of concrete test cubes as required under clause 7 "Tests" of SANS 1200 G shall include the cost of providing cube moulds necessary for the purpose for testing costs and for submitting reports on the test to the Principal Agent/Structural Engineer. The testing shall be undertaken by an independent firm or institution nominated by the contractor to the approval of the Principal Agent/Structural Engineer. (Test cubes are measured separately)
Formwork
Descriptions of formwork shall be deemed to include use and waste only (except where described as "left in" or "permanent"), for fitting together in the required forms, wedging, plumbing and fixing to true angles and surfaces as necessary to ensure easy release during stripping and for reconditioning as necessary before re-use
The vertical strutting shall be carried down to such construction as is sufficiently strong to afford the required support without damage and shall remain in position until the newly constructed work is able to support itself
Formwork to soffits of solid slabs etc shall be deemed to be to slabs not exceeding 250mm thick unless otherwise described
Formwork to soffits of slabs, beams, etc shall be deemed to be propped up exceeding 1,5m and not exceeding 3,5m high unless otherwise described
Formwork to sides of bases, pile caps, ground beams, etc will only be measured where it is prescribed by the engineer for design reasons. Formwork necessitated by irregularity or collapse of excavated faces will not be measured and the cost thereof shall be deemed to be included in the allowance for taking the risk of collapse of the sides of the excavations, provision for which is made in "Earthworks"
Smooth formwork
All smooth formwork must be cleaned, all unevennesses removed and properly prepared to be finished (finish elsewhere)
UNREINFORCED CONCRETE CAST AGAINST EXCAVATED SURFACES
15MPa/19mm Strength concrete
1 | Surface blinding under footings and bases | m³ | 9 |  | 0
REINFORCED CONCRETE CAST ON/IN FORMWORK
30MPa/19mm Strength concrete
2 | Surface beds on waterproofing | m³ | 33 |  | 0
3 | Slabs including beams and inverted beams | m³ | 59 |  | 0
4 | Ground beams | m³ | 14 |  | 0
5 | Plinths | m³ | 12 |  | 0
40MPa/19mm Strength concrete
6 | Stub columns | m³ | 5 |  | 0
REINFORCED CONCRETE CAST AGAINST EXCAVATED SURFACES
30MPa/19mm Strength concrete
7 | Strip footings | m³ | 9 |  | 0
40MPa/19mm Strength concrete
8 | Bases | m³ | 60 |  | 0
TEST CUBES
9 | Making and testing 150 x 150 x 150mm concrete strength test cubes | No | 60 |  | 0
CONCRETE SUNDRIES
Finishing top surfaces of concrete smooth with a power float (degree of accuracy I (SANS 1200-G))
10 | Surface beds, slabs, etc | m² | 438 |  | 0
"SikaGrout - 212" or equal and approved non-shrink grout
11 | Bedding approximately 25mm thick under 300 x 300mm base plate including chamfered edges all round | No | 26 |  | 0
12 | Bedding approximately 25mm thick under 175 x 175mm base plate including chamfered edges all round | No | 85 |  | 0
ROUGH FORMWORK (DEGREE OF ACCURACY II)
Rough formwork to sides
13 | Strip footings | m² | 25 |  | 0
14 | Ground beams | m² | 98 |  | 0
15 | Bases | m² | 106 |  | 0
16 | Rectangular stub columns in foundations | m² | 35 |  | 0
17 | Edges, risers, ends and reveals not exceeding 300mm high or wide | m | 218 |  | 0
18 | Edges, risers, ends and reveals not exceeding 300mm high or wide circular to exceeding 1m radius | m | 61 |  | 0
Boxing in rough formwork to form
19 | 20 x 20 Chamfer along top edge stub columns | m | 187 |  | 0
20 | 20 x 20 Chamfer along top edge of circular plinths | m | 61 |  | 0
SMOOTH FORMWORK (DEGREE OF ACCURACY II)
Smooth formwork to sides
21 | Rectangular stub columns | m² | 22 |  | 0
22 | Upstand/downstand beams | m² | 150 |  | 0
Boxing in smooth formwork to form
23 | 20 x 20 Chamfer along vertical edge of stub columns | m | 64 |  | 0
Smooth formwork to form
24 | 690 x 400mm Rebated opening through 150mm surfacebed | No | 4 |  | 0
25 | 400 x 400mm Rebated opening through 250mm slab | No | 2 |  | 0
MOVEMENT JOINTS ETC
Expansion joint with 12mm "Jointex" between vertical concrete or concrete and brick surfaces
26 | 12mm Joints not exceeding 300mm deep in floors | m | 108 |  | 0
Saw cut joints
27 | 40 x 6mm Saw cut joints in top of concrete | m | 51 |  | 0
Horizontal joggle construction joints through concrete including thick cement slurry to one face
28 | Surface beds/slabs/strip footings not exceeding 300mm thick including ream rop of joint 6 x 30mm deep with bond breaker and filled with "Sikaflex-Pro-2HP" sealant or equal and approved | m | 55 |  | 0
REINFORCEMENT
High tensile steel reinforcement to structural concrete work
29 | Varying diameter bars | t | 15.89 |  | 0
Fabric reinforcement
30 | Ref 395 mesh reinforcement in walls, etc | m² | 438 |  | 0
SECTION 2
PRICE LIST NO. 3
MASONRY
Tenderers are referred to the General Preambles for Trades 2017 as published by the Association of South African Quantity Surveyors as well as the Supplementary Preambles under the section "Works Information - Specifications, standards and workmanship"
BRICKWORK
Sizes in descriptions
Where sizes in descriptions are given in brick units, "one brick" shall represent the length and "half brick" the width of a brick
Face bricks
Bricks shall be ordered timeously to obtain uniformity in size and colour
Pointing
Descriptions of recessed pointing to fair face brickwork and face brickwork shall be deemed to include square recessed, hollow recessed, weathered pointing, etc
BRICKWORK
FOUNDATIONS
Brickwork in NFX bricks (14MPa nominal compressive strength) in class I mortar with all joints grouted in solid with liquid cement mortar
1 | One brick walls | m² | 89 |  | 0
SUPERSTRUCTURE
Brickwork in NFX bricks (14MPa nominal compressive strength) in class I mortar with all joints grouted in solid with liquid cement mortar
2 | One brick walls | m² | 75 |  | 0
BRICKWORK SUNDRIES
Joint forming material in movement joints
3 | 12mm "Jointex" or equal and approved polyethylene joint former built in vertically between brickwork and concrete columns | m² | 11 |  | 0
2,5mm Galvanised brickwork reinforcement
4 | 150mm Wide reinforcement built in horizontally | m | 1331 |  | 0
Galvanised hoop iron cramps, ties, etc
5 | 30 x 1,6mm Galvanised strapping 800mm long with one end fixed to concrete column by means of 5mm diameter fischer N/NU Hammerfix and other end built into brickwork | No | 1163 |  | 0
FACE BRICKWORK
"Corobrik De Hoop Red Satin" or equal and approved face bricks bedded and jointed in Class II mortar and pointed with recessed horizontal and vertical joints suitable for exposure zones 1-3
6 | Extra over brickwork for face brickwork in foundations | m² | 88 |  | 0
7 | Extra over brickwork for face brickwork | m² | 75 |  | 0
SECTION 2
PRICE LIST NO. 4
WATERPROOFING
Tenderers are referred to the General Preambles for Trades 2017 as published by the Association of South African Quantity Surveyors as well as the Supplementary Preambles under the section "Works Information - Specifications, standards and workmanship"
DAMPPROOFING OF WALLS AND FLOORS
One layer of 375 micron "Consol Plastics Brikgrip DPC" or equal and approved embossed damp proof course
1 | In walls | m² | 25 |  | 0
One layer of 250 micron "Consol Plastics Gunplas USB Green" or equal and approved waterproof sheeting sealed at laps with "Gunplas Pressure Sensitive Tape" or equal and approved
2 | Under surface beds, etc | m² | 391 |  | 0
WATERPROOFING TO ROOFS, BASEMENTS, ETC
Prepare by removing all dust and laitance and apply 2 coats by brush "Abe Flintkote3", or equal and approved, all in accordance with manufacturer's specification
3 | On internal skin of wall that is reinforced with cavity fill | m² | 76 |  | 0
4 | On columns and beams | m² | 69 |  | 0
WATERSTOPS, SEALING STRIPS, JOINT SEALANTS, ETC
"Sikaflex Pro-3WF" or equal and approved sealing compound including backing cord, bond breaker, primer, etc
5 | 10 x 6mm In joints in vertical surfaces | m | 99 |  | 0
"Sikaflex Pro-2HP" or equal and approved sealing compound including backing cord, bond breaker, primer, etc all in accordance with manufacturer's specification
6 | 6 x 6mm Sealant and recessed 3mm in horizontal saw cut joints in floors | m | 51 |  | 0
7 | 6 x 6mm Sealant and recessed 3mm in horizontal construction joints in floors | m | 55 |  | 0
8 | 10 x 10mm In joints in horizontal surfaces | m | 108 |  | 0
Silicone sealant
9 | 5mm Fillet joints | m | 55 |  | 0
SECTION 2
PRICE LIST NO. 5
ROOF COVERINGS ETC
Tenderers are referred to the General Preambles for Trades 2017 as published by the Association of South African Quantity Surveyors as well as the Supplementary Preambles under the section "Works Information - Specifications, standards and workmanship"
SUPPLEMENTARY PREAMBLES
Straight cutting
Descriptions of all roof coverings are deemed to include for all straight cutting
Safety
The contractor shall exercise special care when handling long length sheeting, particularly in windy conditions. Should work be interrupted for any reason, all loose sheeting and incomplete sections must be adequately secured against possible movement by wind and gravity.
Installation
Every precaution shall be taken to prevent damage to roof sheets during all stages of construction. Duck boards should be used when necessary to protect the sheeting from damage. Sheeting which has become deformed or damaged in any way, should be replaced. Care shall be taken to ensure that no sheeting or flashing will be cut with abrasive disc on roof surfaces in order to prevent steel particles from penetrating coated surfaces.
Handling and Storage
The contractor shall ensure that all materials used on site for roofing/cladding, be transported, handled and stored in accordance with the manufacturer’s recommendations. Material damaged shall be rejected and replaced with undamaged material at the contractor’s expense. Repair of damaged material will not generally be permitted. Rates are to include for preventing damage and protecting sheets through all stages of construction.
Inspection prior to installation
Before commencing installation, the contractor shall verify that the following items have been checked and accepted:a.The entire structure or the portion thereof to be sheeted has been correctly aligned, levelled and grouted. b.Purlins and sheeting rails are at the correct spacing and are within the specified tolerances. c.The corners for the roof are square and the wall framework is perpendicular or as specified. d.No protrusions such as bolt heads, splice plates, cleats, etc. Appear on the face of the framework. e.All members to which roofing and cladding are to be fixed in aesthetically sensitive areas are true and square. f.Paint and any other materials that may be incompatible with the sheeting, have been painted over so dealt with that direct contact with the sheeting is avoided. g.The contact faces between the purlins or the girts and the cladding are in the same plane. Should the alignment be inadequate, the contractor shall request instructions from the engineer before proceeding with the fixing of the cladding.
Cleaning
All debris, swarf, etc arising from the fixing of the cladding shall be removed from the sheeting as the fixing progresses. In addition, off-cuts of insulation, surplus fasteners, sealants, mandrels from pop rivets, off-cuts of sheeting, surplus flashing, food packaging, cartons, bottles, cans, etc shall not be left on the roof or in the gutters. Care shall be taken to ensure that no such material enters, blocks or partially impedes the flow of water into the outlets, down pipes, etc.
Guarantee
The manufacturer shall comply with ISO 9001:2008 Quality Management System. Klip-Lok 700 sheeting shall be laid in strict accordance with the manufacturer’s specifications by an approved contractor. The contractor must issue the client with a five year guarantee of site workmanship and water tightness from the manufacturer on completion
PROFILED METAL SHEETING AND ACCESSORIES
0.58mm IBR galvanised steel Z200 roof sheeting and side cladding in single lengths and manufactured with "Chromadek ULTIM" coating, colour "Dark Grey" to both sides or equal and approved, fixed to steel liped channel purlins with approved concealed galvanized fixingss all accordance with the manufacturer’s recommendation or equal and approved
1 | Roof covering with pitch not exceeding 25 degrees | m² | 384 |  | 0
2 | Side cladding | m² | 371 |  | 0
3 | Bullnose edge 850mm girth | m | 77 |  | 0
4 | Ridge capping 660mm girth including broad flute closures, poly closures and sliding brackets | m | 46 |  | 0
5 | Corner flashing 660mm girth | m | 82 |  | 0
6 | Drip flashing 231mm girth | m | 92 |  | 0
7 | Barge flashing 462mm girth | m | 52 |  | 0
POLYCARBONATE SHEETING AND ACCESSORIES
0.8mm Thick IBR polycarbonate sheeting (Colour: Bronze) fixed to steel internal purlins, all in accordance with the manufacturer’s recommendation
8 | Side cladding | m² | 122 |  | 0
ROOF AND WALL INSULATION
"FR 405 Light Industrial Sisalation" or equal and approved glass fibre reinforced aluminium foil bonded insulation
9 | Insulation laid taut over rafters and fixed as per manufacturer's specifications | m² | 705 |  | 0
SECTION 2
PRICE LIST NO. 7
CARPENTRY AND JOINERY
Tenderers are referred to the General Preambles for Trades 2017 as published by the Association of South African Quantity Surveyors as well as the Supplementary Preambles under the section "Works Information - Specifications, standards and workmanship"
DOORS, ETC.
Purpose made solid core medium duty flush doors with commercial veneer covering both sides
1 | 44mm Single door, size 900 x 2 100mm high | No | 2 |  | 0
FRAMED FRAMES, ETC.
NOTE: The price for all timber door frames must include for all frames to be sealed with an approved type non-fungul sustaining silicone on the inside and an all weather, water resistant external silicone to the outside
Purpose made wrought hardwood rebated moulded and grooved frames
2 | 90 x 70mm Frame for door size, 900 x 2 100mm high | No | 2 |  | 0
SECTION 2
PRICE LIST NO. 6
IRONMONGERY
Tenderers are referred to the General Preambles for Trades 2017 as published by the Association of South African Quantity Surveyors as well as the Supplementary Preambles under the section "Works Information - Specifications, standards and workmanship"
Note: The price for all ironmongery, plates, closers, handles, locks etc must include for screws, screw sets and fixings
HINGES, BOLTS, ETC.
"ASSA ABLOY/Union" or equal and approved
1 | "8352-100SS" Stainless steel butt hinges | No | 3 |  | 0
2 | "J-881TD-SIL" Panic touch bar panic exit device with dogging | No | 2 |  | 0
LOCKS
Note: All locks to have heavy duty springs
"Union" or equal and approved
3 | CZ6822452 - Gower three lever lockset | No | 2 |  | 0
"ASSA ABLOY/Union" or equal and approved
4 | "2915SC" Union rebate set | Sets | 2 |  | 0
HANDLES
"Union Protea" or equal and approved
5 | Ref CZ682-06CH' Gower pull handle | No | 2 |  | 0
6 | "AL5D02" Aluminium pull handle on 192 x 45mm narrow backplate | No | 2 |  | 0
LETTERS, NAMEPLATES, ETC
"Approved"
7 | 100 x 70 x 1,2mm Thick powder coated galvanised mild steel plate with 50mm high vinyl letters or numerals in black on white background | No | 4 |  | 0
8 | 100 x 55 x 3mm Thick perspex plate drilled and screw fixed to timber/aluminium doors, engraved in black lettering | No | 4 |  | 0
PHOTOLUMINESCENT FIRE SIGNAGE
Mechanically screw fixed, 190mm high with visible SANS stamp of approval
9 | Sign with one pictogram (flammable substance) | No | 4 |  | 0
10 | Sign with one pictogram (no smoking) | No | 9 |  | 0
11 | Sign with one pictogram (fire blanket) | No | 4 |  | 0
12 | Sign with two pictograms (Type E1, E2, E3, E6, F13, F14, F18, F22, F35) | No | 9 |  | 0
13 | Sign with three pictograms (Type F4) | No | 11 |  | 0
Supply and install illuminated fire signage - mechanically screw fixed, 190mm high with visible SANS stamp of approval
14 | Illuminated exit sign (Type E6) | No | 10 |  | 0
SECTION 2
PRICE LIST NO. 7
STRUCTURAL STEELWORK
Tenderers are referred to the General Preambles for Trades 2017 as published by the Association of South African Quantity Surveyors as well as the Supplementary Preambles under the section "Works Information - Specifications, standards and workmanship"
SUPPLEMENTARY PREAMBLES
Descriptions
Descriptions of bolts shall be deemed to include nuts and washers
Descriptions of L-shaped and U-shaped anchor bolts shall be deemed to include bending, threading, nuts and washers and embedding in concrete
Descriptions of expansion anchors and bolts and chemical anchors and bolts shall be deemed to include nuts, washers and mortices in brickwork or concrete
Materials
All hot rolled, plates, sections and CHS (Circular hollow Sections) structural steelwork shall be gradeS355JR. No steel of grade Q345 shall be accepted.
Cold-formed open steel sections shall have a minimum yield stress of 240 MPa.
Steel surfaces of all steel shall be prepared to a preparation grade P3 acc. to SANS 8501-3:2008 irrelevant of the type of corrosion protection specified
Testing
All welding on the main chords must be tested ultrasonically in accordance with BS 3923 or X-rayed in accordance with BS 2600 and those on minor joints by the dye-penetrant method. The Contractor shall supply all equipment necessary to carry out the specified weld tests. The cost of such testing shall be deemed to be included in the structural steel price.
GALVANISED AND PAINTED STEEL COLUMNS AND BEAMS
Refer to the Supplementary Preambles for costs to be included in pricing, specifically in respect of materials to be used and weld testing requirements.
Welded columns in single lengths with flat section base, top, bearer and connection plates bolted to concrete
1 | 254 x 146 x 36kg/m I-section columns | t | 5.48 |  | 0
Welded beams in single lengths with flat section bearer and connection plates bolted to concrete columns
2 | 254 x 146 x 31kg/m I-section beams | t | 4.32 |  | 0
3 | 254 x 146 x 31kg/m I section beam with PC 200x75 capping | t | 4.2 |  | 0
GALVANISED AND PAINTED STEEL PURLINS, GIRTS, BRACING, ETC
Refer to the Supplementary Preambles for costs to be included in pricing, specifically in respect of materials to be used and weld testing requirements.
Welded and bolted cladding support frame system, etc and flat section bearer, gusset and connection plates bolted to steel/concrete
4 | 101.6 x 5mm Circular hollow section strut | t | 0.9 |  | 0
5 | 300 x 300 x 20mm Base plate | t | 0.39 |  | 0
Purlins and grits welded to steel
6 | 100 x 50 x 20 x 3.0 Lipped channel section purlins | t | 1.37 |  | 0
7 | 150 x 75 x 20 x 3.0 Lipped channel section purlins | t | 8.42 |  | 0
Welded bracing, anti-sag rails, etc with flat connection plates, bolted to steel
8 | 125 x 75 x 8mm L cleat | No | 318 |  | 0
9 | 70 x 70 x 6mm Angle section bracing | t | 1.92 |  | 0
10 | 20mm Dia. sag bar | t | 0.18 |  | 0
11 | Apex bracing | t | 0.47 |  | 0
12 | Haunch bracing | t | 0.68 |  | 0
13 | Coping beam support | t | 0.46 |  | 0
BOLTS, FASTENERS, ETC
14 | M14 Bolts (grade 8.8) | No | 356 |  | 0
15 | M18 Bolts (grade 8.8) | No | 1232 |  | 0
16 | M14 "Hilti HIT HY 70" or equal and approved chemical anchor | No | 340 |  | 0
17 | M20 Anchor bolts (grade 4.8), embedded in top of concrete column | No | 111 |  | 0
SECTION 2
PRICE LIST NO. 8
METALWORK
Tenderers are referred to the General Preambles for Trades 2017 as published by the Association of South African Quantity Surveyors as well as the Supplementary Preambles under the section "Works Information - Specifications, standards and workmanship"
SUPPLEMENTARY PREAMBLES
Descriptions of bolts, anchors, etc
Descriptions of bolts shall be deemed to include nuts and washers
Descriptions of expansion anchors and bolts and chemical anchors and bolts shall be deemed to include nuts, washers and mortices in brickwork or concrete
Items described as "holed for bolt(s)" shall be deemed to exclude the bolts unless otherwise described
Items described as "plugged" shall be deemed to include screwing to fibre, plastic or metal plugs at not exceeding 600mm centres
Galvanising
Hot dip galvanising to be in accordance with SANS 763
Weather bars, etc
1 | 70 x 6mm x 3,3kg/m Flat section weather bar fixed in and including groove in concrete threshold, fixed with polysulphide sealant | m | 13 |  | 0
HOT DIPPED GALVANISED RAISED WALKWAYS
"Mentis Rectagrid RS40" or equal and approved removable grating comprising of 30 x 4.5mm bearer bars with a 40mm c/c pitch and 7,5mm diameter transverse bars
2 | 1 200mm Wide banded mentis grating walkway | m² | 97 |  | 0
3 | 1 180 x 250mm Banded mentis grating steps including 60 x 30mm non slip angle nosing and side plates | No | 4 |  | 0
"Mentis Rectagrid RS40" or equal and approved removable grating comprising of 40 x 4.5mm bearer bars with a 40mm c/c pitch and 7,5mm diameter transverse bars
4 | Banded mentis grating sump cover size 400 x 400mm | No | 2 |  | 0
5 | Banded mentis grating catchpit cover size 390 x 680mm | No | 4 |  | 0
Fixing accessories to sumps, catchpits etc
6 | 45 x 45 x 5mm Equal angle fame with R8 casting lugs welded to angles at 250mm c/c | m | 12 |  | 0
Fixing accessories to raised walkways etc
7 | 75 x 50 x 4.5mm (4.12kg/m) Unequal angle frame | m | 219 |  | 0
Welded and bolted walkway posts
8 | 75 x 75 x 3mm (6.54kg/m) x 600m High post to walkways, with welded 175 x 175 x 8.0mm base plate fixed to concrete and welded 175 x 75 x 8.0mm end plate fixed to steel | No | 85 |  | 0
HOT DIPPED GALVANISED STEEL BALUSTRADING WITH HANDRAILS
"Mentis" or equal and approved welded and bolted hot dipped galvanised mild steel balustrading with handrails including matching brackets, posts, connections, closed ends, etc, fixed to steel with and including bolts complete
9 | 1 000mm High balustrading to walkway edges consisting of 34 x 2mm hollow section continuous top and bottom rail, and 43 x 2.5mm goose neck posts with welded flat section fixing plates complete | m | 94 |  | 0
10 | 1 000mm High raking balustrading to steps consisting of 34 x 2mm hollow section continuous top and bottom rail, and 43 x 2.5mm goose neck posts with welded flat section fixing plates complete | m | 6 |  | 0
HOT DIPPED GALVANISED WELDED GATES, ETC
Pre painted and purpose made sliding gate, complete with 76 x 50 x 2mm frame, 76.2 x 12.7mm "ClearVu' mesh panel in fills, IPE 55 x 100mm track with angle, ironmongery, hardware, wheels, etc and fixing to structural steal or concrete
11 | Double gate, size 3 100 x 1 500mm high overall as per detail (Dwg: 32887.00-201-06 rev.T1) | No | 2 |  | 0
STEEL ROLLER SHUTTERS ETC
Galvanised steel roller shutters with 76 x 0,6mm slats, fixed to structural steel
12 | Motorized slatted roller shutter for 3 100 x 2 500mm high opening including suitable and approved locking device, roller door shutter motor and chain | No | 2 |  | 0
13 | Motorized slatted roller shutter for 3 200 x 3 500mm high opening including suitable and approved locking device, roller door shutter motor and chain | No | 2 |  | 0
SECTION 2
PRICE LIST NO. 9
PLASTERING
Tenderers are referred to the General Preambles for Trades 2017 as published by the Association of South African Quantity Surveyors as well as the Supplementary Preambles under the section "Works Information - Specifications, standards and workmanship"
GRANOLITHIC
Untinted granolithic on concrete (35MPa/19mm)
1 | 30mm thick on floors and landings to falls | m² | 1 |  | 0
INTERNAL PLASTER
One coat plaster on brickwork
2 | On walls in foundations | m² | 60 |  | 0
EXTERNAL PLASTER
Cement plaster on brickwork
3 | On walls in foundations | m² | 1 |  | 0
SECTION 2
PRICE LIST NO. 10
PLUMBING AND DRAINAGE
Tenderers are referred to the General Preambles for Trades 2017 as published by the Association of South African Quantity Surveyors as well as the Supplementary Preambles under the section "Works Information - Specifications, standards and workmanship"
SANITARY FITTINGS
NOTE: The price for labour, waste, fixing material must include for all sanitary fittings to be sealed next to walls and floors with an approved type non-fungal sustaining white silicon sealant
"Franke" or equal and approved stainless steel fittings
1 | "ET101" Single wash trough, size 540 x 440 x 384mm deep with sloped front with wash ridges supplied with fixing lugs and fixed to wall with and including bolts (code 2560006) | No | 4 |  | 0
WASTE UNIONS ETC
Waste unions for basins, sinks, etc shall comprise of a chromium plated waste union with grating, rubber washers and locknut
"Cobra Watertech" or equal and approved
2 | 32mm Slotted chromium plated basin waste union (code 303) | No | 4 |  | 0
TAPS, VALVES, ETC
"Cobra Watertech" or equal and approved taps, valves
3 | 15mm Angle valve (code 232/350) including 350mm braided flexi hose | No | 8 |  | 0
4 | 15mm Brass hose bibtap (code 108-15) with water saving washer nut (code P-WS1/2heavy) | No | 6 |  | 0
5 | 15mm "Star" single heavy pattern chrome plated hose bib tap (code 1007870000) with 1/2 BSP male connection end and 3/4 BSP hose union | No | 4 |  | 0
SANITARY PLUMBING
"Geberit" or equal and approved HDPE pipes
6 | 56mm Pipes | m | 12 |  | 0
Extra over HDPE pipes for fittings
Bends
7 | 32mm Bend | No | 8 |  | 0
8 | 56mm Bend | No | 4 |  | 0
9 | 56mm Access bend | No | 4 |  | 0
Reducer
10 | 50 x 40mm Reducer | No | 4 |  | 0
WATER SUPPLIES
Geberit Mepla-PEX/LA/HDPE multi layer piping
11 | 20mm Pipes | m | 44 |  | 0
12 | 26mm Pipe | m | 8 |  | 0
13 | 20mm Pipes chased into brick walls | m | 17 |  | 0
Extra over Geberit Mepla-PEX/LA/HDPE multi layer pipe fittings
14 | 20mm Fittings | No | 46 |  | 0
15 | 26mm Fittings | No | 8 |  | 0
EXTERNAL WATER MAIN SUPPLY AND WATER SUPPLY TO FIRE SERVICES
Method "B" in clause 5 - Plumbing and Drainage of the Standard System of Measuring Building Work is applicable. All excavations, risk of collapse, cart away backfilling required (imported or existing) and class C bedding is to be included with the items below
BMS pipes
16 | 25mm Pipes | m | 36 |  | 0
17 | 25mm Pipes laid in and including trenches not exceeding 1m deep | m | 1 |  | 0
Extra over BMS pipes for steel fittings
18 | 25mm 90º Bend | No | 6 |  | 0
FIRE APPLIANCES, ETC
"Chubb" or equal and approved
19 | 2500 kPA Glycerine filled pressure gauge | No | 2 |  | 0
20 | 9l Type F fire extinguisher including hanger fixed to and including timber backing board | No | 2 |  | 0
21 | Fire hose reel to SANS 543 complete with 20mm diameter rubber hose 30m long, chromium plated stopcock, glycerine gauge, shut-off nozzle and wall bracket | No | 2 |  | 0
"Safequip" or equal and approved
22 | Double door hose reel cabinet with closed back, size 850 x 850 x 295mm (code FIRECABFG027(Closed)) | No | 2 |  | 0
SECTION 2
PRICE LIST NO. 11
PAINTWORK
Tenderers are referred to the General Preambles for Trades 2017 as published by the Association of South African Quantity Surveyors as well as the Supplementary Preambles under the section "Works Information - Specifications, standards and workmanship"
PAINTWORK ETC TO NEW WORK
ON INTERNAL CEMENT BAGGED SURFACES
One coat "Professional Gypsum and Plaster Primer (PP 700") and two coats "Plascon Wall and All (TWA)" paint or equal and approved to manufacturer's specification
1 | On internal walls | m² | 57 |  | 0
ON SMOOTH CONCRETE SURFACES
One coat "Dura.®rep FR" and two coats "Abecote.®SF217" paint or equal and approved to manufacturer's specification
2 | On projecting and isolated columns | m² | 711 |  | 0
ON METAL SURFACES
One coat "International (Plascon) Intergrad 269" surface tolerant epoxy primer and two coats "International (Plascon) Interhane 990" or equal and approved to manufacturer's specification
3 | On structural steel | m² | 2233 |  | 0
4 | On balustrades | m² | 201 |  | 0
5 | On walkway grating | m² | 195 |  | 0
ON WOOD SURFACES
Two coats oil wood primer
6 | On backs of frames, linings, etc not exceeding 300mm wide | m | 10 |  | 0
Clean knots with lacquer thinners and seal with one coat "Plascon Woodcare Knot Seal (PK2)", apply one coat "Plascon Woodcare Pretreatment (WWP1)", prime with one coat "Plascon Glatex 8 (PL7)" and apply two coats "Plascon Glatex 8 (PL7)" to specification or equal and approved
7 | On doors | m² | 8 |  | 0
8 | On door frames | m² | 2 |  | 0
1 | Earthworks | Page | 7 |  | 0
2 | Concrete formwork and reinforcement | Page | 12 |  | 0
3 | Masonry | Page | 14 |  | 0
4 | Waterproofing | Page | 16 |  | 0
5 | Roof coverings | Page | 20 |  | 0
6 | Carpentry and joinery | Page | 21 |  | 0
7 | Ironmongery | Page | 23 |  | 0
8 | Structural Steel | Page | 26 |  | 0
9 | Metalwork | Page | 29 |  | 0
10 | Plastering | Page | 30 |  | 0
11 | Plumbing and drainage | Page | 33 |  | 0
12 | Paintwork | Page | 35 |  | 0
SECTION 3
PRICE LIST NO. 1
ELECTRICAL INSTALLATION
ELECTRICAL EQUIPMENT
WAREHOUSE A & B
DISTRIBUTION BOARDS
1 | Distribution Board SDB-Chemical Dosing, complete with frame architecture, panels, 30% spare capacity, internal busbars, wiring protection and switching equipment as per line diagram drawings. Equipment type to be "Schneider, Eaton, Häger, ABB" or equal and approved, All DIN rail mounted. This distribution board shall form part of the MCC enclosure | No | 2 |  | 0
CABLES FOR POWER DISTRIBUTION
Amoured LV copper cables with copper earthing as per spec, including glands, shrouds and termination between existing bulk supply point and the distribution board
2 | 70mm² x 4 Core CU cable | m | 1 |  | 0
3 | 50mm² x 4 Core CU cable | m | 300 |  | 0
4 | 35mm² x 4 Core CU cable | m | 200 |  | 0
5 | 25mm² x 4 Core CU cable | m | 50 |  | 0
LV Cables between VSD's and pump motors, including copper earthing, glands shrouds and termination:
6 | 16mm² x 4 Core cable | m | 1 |  | 0
7 | 10mm² x 4 Core cable | m | 60 |  | 0
8 | 6mm² x 4 Core cable | m | 1 |  | 0
9 | 4mm² x 4 Core cable | m | 800 |  | 0
10 | 2.5mm² x 4 Core cable | m | 1 |  | 0
Black insulated earthwire in along supply cables:
11 | 50mm² | m | 1 |  | 0
12 | 35mm² | m | 300 |  | 0
13 | 25mm² | m | 200 |  | 0
14 | 16mm² | m | 50 |  | 0
15 | 10mm² | m | 1 |  | 0
16 | 6mm² | m | 60 |  | 0
WIRING
PVC insulated conductors installed in conduits or wire trunking. Earth conductors shall be green PVC insulated (including off-cuts and waste)
17 | 4mm² | m | 400 |  | 0
18 | 2,5mm² | m | 800 |  | 0
19 | 1,5mm² | m | 400 |  | 0
CONDUIT AND ACCESSORIES
CONDUIT
Including bends, saddles and all accessories
Galvanised type:
20 | 32mm Diameter conduit | m | 1 |  | 0
21 | 25mm Diameter conduit | m | 60 |  | 0
22 | 20mm Diameter conduit | m | 140 |  | 0
PVC Type:
23 | 32mm Diameter conduit | m | 1 |  | 0
24 | 25mm Diameter conduit | m | 80 |  | 0
25 | 20mm Diameter conduit | m | 80 |  | 0
CONDUIT BOXES
Galvanised type:
26 | 100mm x 100mm x 50mm (4" x 4" Box) | No | 4 |  | 0
27 | 100mm x 50mm x 50mm (4" x 2" Box) | No | 4 |  | 0
28 | 50mm Round conduit box | No | 40 |  | 0
PVC type:
29 | 100mm x 100mm x 50mm (4" x 4" Box) | No | 2 |  | 0
30 | 100mm x 50mm x 50mm (4" x 2" Box) | No | 4 |  | 0
31 | 50mm Round conduit box | No | 10 |  | 0
LIGHTING INSTALLATION
LUMINARIES, SUPPLIED AND FITTED
Note: All luminaries shall bare the SANS mark of compliance
32 | Surface mounted enclosed LED vapour proof light fitting, 1200mm long, System Lume 5385lm, System power: 53W with 4000K colour rendering - IP65 rating | No | 12 |  | 0
33 | External surface mounted wall light with eyelid, with LED lamp, System Lume: 14550lm, System power: 18W and 3000K colour rendering - IP65 rated. (As per Regent Lighting Giza Eyelid or equal and approved) | No | 12 |  | 0
34 | Exterior floodlight with 50W LED lamp, IP65 rated | No | 2 |  | 0
35 | Daylight switch including york box and clear cover | No | 1 |  | 0
LIGHT SWITCHES
Light switches complete with cover plates, connected to wiring and fitted in switch box
36 | 16A One lever, one way, weatherproof, IP65 switch | No | 4 |  | 0
37 | 16A, 1L, 1W Switch | No | 1 |  | 0
38 | 16A, 2L, 1W Switch | No | 2 |  | 0
SWITCH SOCKET OUTLETS
Switched socket outlets complete with cover plates connected to wiring and fitted in box. Switchgear to be "Crabtree/CBI" or equal and approved
39 | Double 16A 3-pin switched weatherproof socket outlets installed in 4 x 4 box | No | 4 |  | 0
40 | 32A 5 Pin (3P+N+E) wall mounted socket outlet, IP56 rated | No | 2 |  | 0
ISOLATORS
Isolators for safety and maintenance purposes of mechanical equipment
41 | 60A Triple pole weather proof surface mounted isolator | No | 2 |  | 0
42 | 60A Double pole weather proof surface mounted isolator | No | 1 |  | 0
43 | 30A Triple pole weatherproof surface mounted | No | 6 |  | 0
44 | 30A Double pole weatherproof surface mounted | No | 2 |  | 0
CABLE TRAYS & LADDERS
Cable ladder complete with all accessories and fixtures
45 | 300mm Wide heavy duty cable tray | m | 20 |  | 0
46 | 200mm Wide heavy duty cable tray | m | 20 |  | 0
47 | 152mm Wide medium duty cable tray | m | 16 |  | 0
48 | 127mm x 76mm "OL9000/P9000" or equal and approved wiring ducts with covers | m | 1 |  | 0
49 | 76mm x 76mm "P8000" or equal and approved wiring ducts with covers | m | 16 |  | 0
LOW VOLTAGE RETICULATION
MCC
This part of the bill is for the ordering, delivery to site, installation, testing and commissioning of a Low Voltage Motor Control Centre (MCC) complete with circuit breakers and VSD's as per drawing and Transnet specifications. Including testing and commissioning
Including for complete earthing
50 | Low voltage wall mounted MCC, bolted and assembled complete with equipment and line diagram drawing 32887-312-01 Rev 0, that complies with the latest Transnet specifications. MCC to include the PLC section on the left hand side | No | 1 |  | 0
51 | Complete earthing of Pump Station building as required and indicated on drawing 32887-370-01 | No | 1 |  | 0
52 | 3kVA UPS with 30 minutes back up time inside a dedicated MCC cubical, including all wires and connections | No | 2 |  | 0
ELECTRICAL DRAW BOXES
Drawpits
53 | 600 x 600mm Inspection chambers | No | 4 |  | 0
CAST IN ITEMS
54 | 110mm to 160mm Diameter uPVC sleeve pipe for electric cabling (install only) from pump room to MCC room | m | 20 |  | 0
PUMP CONTROL AND INSTRUMENTATION
Equipment and cabling for the switchgear to the following motors
All equipment and cabling for the switchgear to the following motors
55 | Emergency stop push button actuator latching mushroom twist release with 1200mm x 75mm x 75mm (GMS) square tubing footing next to motor | No | 4 |  | 0
56 | 2,5mm² x 3 Core cable for E-Stop buttons | m | 120 |  | 0
57 | "YASKAWA" or equal and approved VSD for 15kW motors | No | 2 |  | 0
58 | Alternative VSD as indicated above | No | 1 |  | 0
59 | Digital set-point display with six digital outputs to display all motor sensor values. To be installed at the display and control section of the MCC | No | 2 |  | 0
FIBRE OPTIC
60 | 8 Core fibre optic cable | m | 800 |  | 0
61 | 4 Core fibre optic cable | m | 400 |  | 0
62 | 1 Core fibre optic cable | m | 800 |  | 0
63 | Copper to fibre switch (4x) | No | 2 |  | 0
64 | Fibre to copper switch (4x) | No | 2 |  | 0
65 | Fibre patch panel | No | 2 |  | 0
66 | 3m Patch leads | No | 16 |  | 0
SCADA
67 | Program, configure and integrate the Chemical Dosing Plant into the existing Transnet SCADA system in the Control Tower in order for the Dust Suppression System to be fully operational to the Clients and Engineer's requirements | Item | 1 |  | 0
68 | Provision for alterations to the SCADA System to be altered and reconfigured | Hrs | 24 |  | 0
INSTRUMENTATION AND CONTROL CABLING
The following instrumentation cabling:
69 | 8 Core 1,5mm² underground PVC SWA signal cable in sleeves | m | 400 |  | 0
70 | 8 Core 1,5mm² PVC signal cable in pump station cable trays | m | 800 |  | 0
71 | 4 Core 1,5mm² PVC signal cable for field instrumentation and indication | m | 1200 |  | 0
SUB DISTRIBUTION BOARD EQUIPMENT
Moulded case circuit breakers by "ABB, Schneider, Häger or Eaton" or equal and approved suppliers (for lights and socket outlets)
72 | 40 AMP Triple Pole, 5kA | No | 1 |  | 0
73 | 30 AMP Triple Pole, 5kA | No | 1 |  | 0
74 | 20 AMP Triple Pole, 5kA | No | 1 |  | 0
75 | 10 AMP Triple Pole, 5kA | No | 1 |  | 0
76 | 40 AMP Single Pole, 5kA | No | 1 |  | 0
77 | 30 AMP Single Pole, 5kA | No | 1 |  | 0
78 | 20 AMP Single Pole, 5kA | No | 1 |  | 0
79 | 10 AMP Single Pole, 5kA | No | 1 |  | 0
80 | 63 AMP Earth leakage unit (isolator type) three pole and neutral | No | 1 |  | 0
81 | 63 AMP Earth leakage unit (isolator type) single phase | No | 1 |  | 0
PLC to be fully functional. SCADA to be updated in the control tower as well
82 | 6ES7 318 3EL00 0AB0 - Simatic S7-300 CPU 319-3 PN/DP standard controller with 1 x 12Mbit/s RS-485 interface MPI/Profibus DP Master/Slave, 1 x 10/100 Mbit/s RJ-45 ethernet interface (Ethernet/Profinet), 2000 Kbytes memory for user program and data, no integrated I/O, integrated 24V DC power supply, with 2 port switch, required micro memory card | No | 1 |  | 0
83 | 6GK7 343 1EX30 0XE0 - Simatic NET CP 343-1 Ethernet communication processor module for connecting Simatic S7-300 to industrial ethernet, 1 x 10/100 Mbit/s Ethernet Interface with integrated 2-port switch ERTEC 200, 2 RJ45 ports, using TCP/IP, and ISO; Profinet I/O device, fetch/write, send/receive, with and without RFC 1006, S7 communication, multicast, diagnostic, initialization via LAN, DHCP, NTP-CPU synch | No | 1 |  | 0
84 | 6ES7 153 2BA02 0XB0 - Simatic S7 DP IM 153-2 High Feature Interface Module for ET 200M distributed I/O system, supports up to 12 S7-300 modules, 1 x 12Mbit/s RS -485 Profibus DP Interface (Slave), supports remove/insertion under power, redundancy and time stamping, fits for isochronous mode with new features, 12 modules/station slaves; initiative for switches and drives; extended data for HART secondary variables operation with 64-Point modules; extends timestamps with 32 signals/slot; IP20 protection, 24V DC power | No | 1 |  | 0
85 | 6ES7 321 1BH02 0AA0 - Simatic S7-300 SM 321 Digital Input Module, (16) 24V DC Digital Inputs, Sinking, 20-Pin, Optically Isolated | No | 8 |  | 0
86 | 6ES7 322 1BH10 0AA0 - Simatic S7-300 SM 322 High Speed Digital Output Module, (8) 24V DC Digital Outputs, 0.5A/each, 20-Pin, 1000 Hz Switching Frequency with Resistive Load, Optically Isolated | No | 4 |  | 0
87 | 6ES7 331 7KF02 0AB0 - Simatic S7-300 SM 331 Analog Current/Voltage/RTD/Thermocouple Input Module, (8) Analog Current/Voltage Inputs or (4) Analog Thermocouple/RTD/Resistance Inputs; Voltage Input Ranges: +/-80mV, +/-250mV, +/-500mV, +/-1V, 1- 5V, +/-2.5V, +/-5V, +/-10V; Current Input Ranges: +/-3.2mA, +/-10mA, +/-20mA, 0/4 to 20mA; TC Input Ranges: Type E, Type J, Type K, Type N; RTD/Resistance Input Ranges: Ni 100, Pt 100, 0-150 Ohm, 0-300 Ohm, 0-600 Ohm; Integration Time Parameterizable - .5/16.67/20/100 ms; 15-Bit Resolution (9/12/14-Bit + Sign), 20-Pin, Diagnostics, Optically Isolatedlated | No | 2 |  | 0
88 | 6AV6 643 0BA01 1AX0 - Simatic OP 277 Operator Panel, Operator Interface Terminal, 5.7-inch, Colour, Keypad, RISC 32-Bit CPU, 4MB Configuring Memory, 1 x 12 Mbit/s RS-422/485 Interface Port (MPI/DP/PPI) with support of 3rd Party PLC, 1 x 10/100 Mbit/s RJ-45 Ethernet (IE/PROFINET), 1 x Multi Media Card Slot, 1 x USB Port, 320x240 TFT LCD with 256 colours, 24 function keys (18 with LEDs), Windows CE Operating System, configurable with WinCC Flexible Standard 2005 SP1 and higher, 24V DC Power | No | 1 |  | 0
89 | 6SE7022-6EC61 - Three phase Simovert MasterDrive IP20 vector control converter compact unit, 380-480V AC, 25.5A, 11kW | No | 2 |  | 0
Removal of existing coating and surface preparation:
90 | Remove existing elastomeric coating and other dust, dirt, loose deleterious material, oil, grease, algae, lichen to obtain sound clean structural steel as per specification | m² | 20 |  | 0
91 | Application of protective coating in accordance with the manufacturer's specification. The coating colour shall match the original colour | m² | 20 |  | 0
WAREHOUSE A
PROGRAMMABLE LOGIC CONTROLLER (PLC)
"Siemens Simatic S7" or equal and approved PLC with the necessary analogue and digital I/O in order to operate the entire pump station
PLC to be fully functional. SCADA to be updated in the Control Tower as well
92 | 6ES7 318 3EL00 0AB0 - Simatic S7-300 CPU 319-3 PN/DP standard controller with 1 x 12Mbit/s RS-485 interface MPI/Profibus DP Master/Slave, 1 x 10/100 Mbit/s RJ-45 Ethernet Interface (Ethernet/Profinet), 2000 Kbytes memory for User Program and Data, No Integrated I/O, Integrated 24V DC Power Supply, with 2 Port switch, required Micro Memory Card | No | 1 |  | 0
93 | 6GK7 343 1EX30 0XE0 - Simatic NET CP 343-1 Ethernet communication processor module for connecting Simatic S7-300 to industrial ethernet, 1 x 10/100 Mbit/s Ethernet Interface with integrated 2-port switch ERTEC 200, 2 RJ45 ports, using TCP/IP, and ISO; Profinet I/O device, fetch/write, send/receive, with and without RFC 1006, S7 communication, multicast, diagnostic, initialization via LAN, DHCP, NTP-CPU synch | No | 1 |  | 0
94 | 6ES7 153 2BA02 0XB0 - Simatic S7 DP IM 153-2 High Feature Interface Module for ET 200M distributed I/O system, supports up to 12 S7-300 modules, 1 x 12Mbit/s RS -485 Profibus DP Interface (Slave), supports remove/insertion under power, redundancy and time stamping, fits for isochronous mode with new features, 12 modules/station slaves; initiative for switches and drives; extended data for HART secondary variables operation with 64-Point modules; extends timestamps with 32 signals/slot; IP20 protection, 24V DC power | No | 1 |  | 0
95 | 6ES7 321 1BH02 0AA0 - Simatic S7-300 SM 321 Digital Input Module, (16) 24V DC Digital Inputs, Sinking, 20-Pin, Optically Isolated | No | 8 |  | 0
96 | 6ES7 322 1BH10 0AA0 - Simatic S7-300 SM 322 High Speed Digital Output Module, (8) 24V DC Digital Outputs, 0.5A/each, 20-Pin, 1000 Hz Switching Frequency with Resistive Load, Optically Isolated | No | 4 |  | 0
97 | 6ES7 331 7KF02 0AB0 - Simatic S7-300 SM 331 Analog Current/Voltage/RTD/Thermocouple Input Module, (8) Analog Current/Voltage Inputs or (4) Analog Thermocouple/RTD/Resistance Inputs; Voltage Input Ranges: +/-80mV, +/-250mV, +/-500mV, +/-1V, 1- 5V, +/-2.5V, +/-5V, +/-10V; Current Input Ranges: +/-3.2mA, +/-10mA, +/-20mA, 0/4 to 20mA; TC Input Ranges: Type E, Type J, Type K, Type N; RTD/Resistance Input Ranges: Ni 100, Pt 100, 0-150 Ohm, 0-300 Ohm, 0-600 Ohm; Integration Time Parameterizable - .5/16.67/20/100 ms; 15-Bit Resolution (9/12/14-Bit + Sign), 20-Pin, Diagnostics, Optically Isolated | No | 2 |  | 0
98 | 6AV6 643 0BA01 1AX0 - Simatic OP 277 Operator Panel, Operator Interface Terminal, 5.7-inch, Colour, Keypad, RISC 32-Bit CPU, 4MB Configuring Memory, 1 x 12 Mbit/s RS-422/485 Interface Port (MPI/DP/PPI) with support of 3rd Party PLC, 1 x 10/100 Mbit/s RJ-45 Ethernet (IE/PROFINET), 1 x Multi Media Card Slot, 1 x USB Port, 320x240 TFT LCD with 256 colours, 24 function keys (18 with LEDs), Windows CE Operating System, configurable with WinCC Flexible Standard 2005 SP1 and higher, 24V DC Power | No | 1 |  | 0
99 | 6SE7022-6EC61 - Three phase Simovert MasterDrive IP20 vector control converter compact unit, 380-480V AC, 25.5A, 11kW | No | 2 |  | 0
INSTRUMENTATION
The following control instrumentation "E+H, Siemens or Wika" or equal and approved:
100 | 4-20mA Output differential pressure transmitter | No | 4 |  | 0
101 | "RS485" or equal and approved water flow transmitter and display | No | 8 |  | 0
102 | Water flow indicator | No | 16 |  | 0
103 | 4-20mA Output pressure transducer | No | 4 |  | 0
104 | Ultrasonic water level transducer | No | 8 |  | 0
105 | 0-10 Bar analogue pressure gauge | No | 8 |  | 0
106 | Float switch inside tanks | No | 8 |  | 0
107 | Level process controller and display | No | 4 |  | 0
108 | RS485 to Modbus TCP converter with power supply | No | 8 |  | 0
109 | E+H RIA 45 | No | 4 |  | 0
110 | E+H RIA 452 | No | 4 |  | 0
FIELD ENCLOSURES
"3CR12" or equal and approved
111 | 800mm x 400mm Stainless steel enclosure, epoxy powder coated paint. Colour: electric orange | No | 2 |  | 0
112 | 600mm x 400mm Stainless steel enclosure, epoxy powder coated paint. Colour: electric orange | No | 4 |  | 0
113 | 400mm x 400mm Stainless steel enclosure, epoxy powder coated paint. Colour: electric orange | No | 8 |  | 0
WAREHOUSE B
PROGRAMMABLE LOGIC CONTROLLER (PLC)
"Siemens Simatic S7" or equal and approved PLC with the necessary analogue and digital I/O in order to operate the entire pump station
PLC to be fully functional. SCADA to be updated in the Control Tower as well
114 | 6ES7 318 3EL00 0AB0 - Simatic S7-300 CPU 319-3 PN/DP standard controller with 1 x 12Mbit/s RS-485 interface MPI/Profibus DP Master/Slave, 1 x 10/100 Mbit/s RJ-45 Ethernet Interface (Ethernet/Profinet), 2000 Kbytes memory for User Program and Data, No Integrated I/O, Integrated 24V DC Power Supply, with 2 Port switch, required Micro Memory Card | No | 1 |  | 0
115 | 6GK7 343 1EX30 0XE0 - Simatic NET CP 343-1 Ethernet communication processor module for connecting Simatic S7-300 to industrial ethernet, 1 x 10/100 Mbit/s Ethernet Interface with integrated 2-port switch ERTEC 200, 2 RJ45 ports, using TCP/IP, and ISO; Profinet I/O device, fetch/write, send/receive, with and without RFC 1006, S7 communication, multicast, diagnostic, initialization via LAN, DHCP, NTP-CPU synch | No | 1 |  | 0
116 | 6ES7 153 2BA02 0XB0 - Simatic S7 DP IM 153-2 High Feature Interface Module for ET 200M distributed I/O system, supports up to 12 S7-300 modules, 1 x 12Mbit/s RS -485 Profibus DP Interface (Slave), supports remove/insertion under power, redundancy and time stamping, fits for isochronous mode with new features, 12 modules/station slaves; initiative for switches and drives; extended data for HART secondary variables operation with 64-Point modules; extends timestamps with 32 signals/slot; IP20 protection, 24V DC power | No | 1 |  | 0
117 | 6ES7 321 1BH02 0AA0 - Simatic S7-300 SM 321 Digital Input Module, (16) 24V DC Digital Inputs, Sinking, 20-Pin, Optically Isolated | No | 1 |  | 0
118 | 6ES7 322 1BH10 0AA0 - Simatic S7-300 SM 322 High Speed Digital Output Module, (8) 24V DC Digital Outputs, 0.5A/each, 20-Pin, 1000 Hz Switching Frequency with Resistive Load, Optically Isolated | No | 1 |  | 0
119 | 6ES7 331 7KF02 0AB0 - Simatic S7-300 SM 331 Analogue Current/Voltage/RTD/Thermocouple Input Module, (8) Analogue Current/Voltage Inputs or (4) Analogue Thermocouple/RTD/Resistance Inputs; Voltage Input Ranges: +/-80mV, +/-250mV, +/-500mV, +/-1V, 1-5V, +/-2.5V, +/-5V, +/-10V; Current Input Ranges: +/-3.2mA, +/-10mA, +/-20mA, 0/4 to 20mA; TC Input Ranges: Type E, Type J, Type K, Type N; RTD/Resistance Input Ranges: Ni 100, Pt 100, 0-150 Ohm, 0-300 Ohm, 0-600 Ohm; Integration Time Parametrizable - .5/16.67/20/100 ms; 15-Bit Resolution (9/12/14-Bit + Sign), 20-Pin, Diagnostics, Optically Isolated | No | 1 |  | 0
120 | 6AV6 643 0BA01 1AX0 - Simatic OP 277 Operator Panel, Operator Interface Terminal, 5.7-inch, Colour, Keypad, RISC 32-Bit CPU, 4MB Configuring Memory, 1 x 12 Mbit/s RS-422/485 Interface Port (MPI/DP/PPI) with support of 3rd Party PLC, 1 x 10/100 Mbit/s RJ-45Ethernet (IE/PROFINET), 1 x Multi Media Card Slot, 1 x USB Port, 320x240 TFT LCD with 256 colours, 24 function keys (18 with LEDs), Windows CE Operating System, configurable with WinCC Flexible Standard 2005 SP1 and higher, 24V DC Power | No | 1 |  | 0
121 | 6SE7022-6EC61 - Three phase Simovert MasterDrive IP20 vector control converter compact unit, 380-480V AC, 25.5A, 11kW | No | 1 |  | 0
INSTRUMENTATION
122 | 4-20mA Output differential pressure transmitter | No | 4 |  | 0
123 | "RS485" or equal and approved water flow transmitter and display | No | 4 |  | 0
124 | Water flow indicator | No | 8 |  | 0
125 | 4-20mA Output pressure transducer | No | 4 |  | 0
126 | Ultrasonic water level transducer | No | 4 |  | 0
127 | 0-10 Bar analogue pressure gauge | No | 8 |  | 0
128 | Float switch inside tanks | No | 8 |  | 0
129 | Level process controller and display | No | 4 |  | 0
130 | RS485 to Modbus TCP converter with power supply | No | 2 |  | 0
131 | Ø100NB "Siemans MAG 5100W" or equal and approved flow sensor | No | 2 |  | 0
132 | Ø80NB "Siemans MAG 5100W" or equal and approved flow sensor | No | 3 |  | 0
133 | Pipe modifications for above flow sensors | No | 5 |  | 0
FIELD ENCLOSURES:
"3CR12" or equal and approved
134 | 800mm x 400mm Stainless steel enclosure, epoxy powder coated paint. Colour: electric orange | No | 5 |  | 0
135 | 600mm x 400mm Stainless steel enclosure, epoxy powder coated paint. Colour: electric orange | No | 10 |  | 0
136 | 400mm x 400mm Stainless steel enclosure, epoxy powder coated paint. Colour: electric orange | No | 15 |  | 0
SECTION 3
PRICE LIST NO. 2
MECHANICAL INSTALLATION
WAREHOUSE A
PUMP AND TANK EQUIPMENT
1 | "Grundfos - CRI" or equal and approved 10kW vertical pump with a performance of 18m3/hr at 8 bar pressure including all pump controls | No | 2 |  | 0
2 | "Milton-Roy" or equal and approved dosing pump | No | 2 |  | 0
3 | 20kL "KRM" or equal and approved water tank including pipes, fittings and support structure | No | 2 |  | 0
4 | "DAB Feka 550 M-A 0.55KW" or equal and approved portable submersible sump pump with hose | No | 2 |  | 0
5 | Test, commission and operate for a trial operation period to specifications including all automation, control equipment, electrical supply, switchboards and instrumentation. | Item | 1 |  | 0
VALVE & STRAINER EQUIPMENT
Valves on the pipework to Transnet specifications
6 | Ø50mm 24V AC Solenoid valve | No | 2 |  | 0
7 | Ø25mm 24V AC Solenoid valve | No | 4 |  | 0
8 | Ø50mm (PA50) Knife-Gatevalves | No | 2 |  | 0
9 | Ø80mm Steel ball valve | No | 2 |  | 0
10 | Ø50mm Steel ball valve | No | 2 |  | 0
11 | Ø25mm Steel ball valve | No | 4 |  | 0
AIR VALVES
"Vent-o-mat" threaded anti surge air release and vacuum break valve or equal and approved by the Engineer
12 | Ø50mm Thread class PA50 | No | 4 |  | 0
13 | Ø25mm Thread class PA50 | No | 4 |  | 0
STRAINERS
Stainless steel type:
14 | Ø50mm Thread Y-Strainer | No | 8 |  | 0
15 | Ø25mm Thread Y-Strainer | No | 16 |  | 0
PVC/HDPE type:
16 | Ø50mm Thread Y-Strainer | No | 8 |  | 0
17 | Ø25mm Thread Y-Strainer | No | 16 |  | 0
NOZZLES
18 | V-jet stainless steel: 1/4" thread size, 120° angle, 5 bar | No | 100 |  | 0
19 | T-jet stainless steel: 1/4" thread size, 5 bar | No | 100 |  | 0
20 | TF full cone stainless steel: 1/4" thread size, 120° angle, 5 bar | No | 100 |  | 0
21 | Hollow cone stainless steel: 1/4" thread size, 90° angle, 5 bar | No | 100 |  | 0
22 | 1/4" Thread size, 8 bar, 50 um atomising sprayers | No | 45 |  | 0
CHEMICALS IN STORAGE TANK
Environmental chemicals for the dust suppression system:
23 | "Benmarc BM-515E" or equal and approved environmental dust surfactant chemical in chemical storage tank | ltr | 40000 |  | 0
WAREHOUSE B
PUMP STATION EQUIPMENT
Complete pump station including integration with Transet PLC and certified pump factory certificates
24 | "Grundfos - CRI" or equal and approved 10 kW vertical pump with a performance of 18m3/hr at 8 bar pressure including all pump controls | No | 4 |  | 0
25 | "Milton-Roy" or equal and approved dosing pump | No | 4 |  | 0
26 | 20kL "KRM" or equal and approved water tank including pipes, fittings and support structure | No | 8 |  | 0
27 | Test, commission and operate for a trial operation period to specifications including all automation, control equipment, electrical supply, switchboards and instrumentation. | Item | 1 |  | 0
VALVE & STRAINER EQUIPMENT
Valves on the pipework to Transnet specifications
28 | Ø50mm 24V AC Solenoid valve | No | 4 |  | 0
29 | Ø25mm 24V AC Solenoid valve | No | 18 |  | 0
30 | Ø50mm (PA50) Knife-Gatevalves | No | 4 |  | 0
31 | Ø80mm Steel ball valves | No | 15 |  | 0
32 | Ø50mm Steel ball valves | No | 12 |  | 0
33 | Ø25mm Steel ball valves | No | 15 |  | 0
AIR VALVES
"Vent-o-mat" threaded anti surge air release and vacuum break valve or equal and approved by the Engineer
34 | Ø50mm Thread class PA50 | No | 5 |  | 0
35 | Ø25mm Thread class PA50 | No | 10 |  | 0
STRAINERS
Stainless steel type:
36 | Ø50mm Thread Y-Strainer | No | 8 |  | 0
37 | Ø25mm Thread Y-Strainer | No | 15 |  | 0
38 | Ø50mm Thread Y-Strainer | No | 8 |  | 0
39 | Ø25mm Thread Y-Strainer | No | 15 |  | 0
NOZZELS
40 | V-jet Stainless Steel nozzel, 1/4" thread size, 120° angle, 5 bar | No | 40 |  | 0
41 | T-jet Stainless Steel nozzel, 1/4" thread size, 5 bar | No | 20 |  | 0
42 | TF full cone Stainless Steel nozzel, 1/4" thread size, 120° angle, 5 bar | No | 20 |  | 0
43 | Hollow cone stainless steel nozzel, 1/4" thread size, 90° angle, 5 bar | No | 36 |  | 0
44 | Head chute suppression system (atomising sprayers) | No | 135 |  | 0
45 | Feed chute suppression system (atomising sprayers) | No | 345 |  | 0
CHEMICALS IN STORAGE TANK
Environmental chemicals for the dust suppression system:
46 | "Benmarc BM-210E" or equal and approved environmental dust surfactant chemical in chemical storage tank | ltr | 80000 |  | 0
PIPEWORK FOR WAREHOUSE A & B
The following pipework to the tanks and to the spray nozzels in the field. All pipework to be properly fixed against conveyor steel structure or installed under soil as required
Pipework supplying the water storage tanks:
47 | Ø50mm Stainless steel Grade 316 pipe including all sockets, bends, couplings and fixtures. Fixed with brackets against steel structure | m | 30 |  | 0
48 | Ø50mm Stainless steel Grade 316 pipe including all sockets, bends and couplings. Install pipe inside trench | m | 20 |  | 0
49 | Ø80mm Stainless steel Grade 316 pipe including all sockets, bends, couplings and fixtures | m | 60 |  | 0
50 | Ø50mm Stainless steel Grade 316 pipe including all sockets, bends, couplings and fixtures | m | 80 |  | 0
51 | Ø25mm Stainless steel Grade 316 pipe including all sockets, bends, couplings and fixtures | m | 100 |  | 0
52 | Ø50mm to Ø25mm GMS reducer | No | 15 |  | 0
53 | Ø25mm GMS threaded outlets connected onto Ø50mm T-pieces of the pipework | No | 8 |  | 0
54 | Ø25mm GMS T-piece with 1/4" female reducer for stainless steel nozzels | No | 60 |  | 0
55 | Ø25mm GMS bend with 1/4" female reducer for stainless steel nozzels | No | 30 |  | 0
Witnessed pipe tests
56 | Pressure test as required for stainless steel Grade 316 pipes | No | 1 |  | 0
57 | Pinhole tests on protection coatings | No | 8 |  | 0
Instrumentation connections
58 | Ø50mm PVC Venturi tee for chemical dosing into the delivery pipe system | No | 2 |  | 0
MEDIUM-PRESSURE PIPELINES FOR WAREHOUSE A & B
Class 12 uPVC pipes on bedding for flexible pipes, test, flush and disinfect the following pipes:
59 | 75mm Diameter class 12 uPVC | m | 200 |  | 0
HDPE PE 100 pipe on class C bedding, including cutting, welding, disinfecting and testing for the following pipes:
60 | 75mm Diameter class 12.5 HDPE | m | 600 |  | 0
61 | 50mm Diameter class 12.5 HDPE | m | 100 |  | 0
SPECIALS AND FITTINGS FOR WAREHOUSE A & B
Supply, lay, and bed for flexible pipes, joint, including cut pipes to lengths where required, test, flush and disinfect with necessary couplings
Bends
Class 12.5 HDPE Compression fittings
62 | 75mm Tee | No | 8 |  | 0
63 | 50mm Tee | No | 4 |  | 0
HDPE moulded bends
64 | 75mm Diameter 90° degree bend | No | 4 |  | 0
65 | 50mm Diameter 90° degree bend | No | 2 |  | 0
Class 12 uPVC
66 | 75mm Diameter 45° degree | No | 4 |  | 0
67 | 75mm Diameter 90° degree | No | 4 |  | 0
Tees
Flanged ductile iron to fit uPVC pipes:
68 | 75 x 75 x 50mm Diameter | No | 6 |  | 0
Reducers
Flanged ductile iron
69 | 75 x 50mm Diameter | No | 6 |  | 0
Flange adaptors
70 | 75mm Diameter | No | 4 |  | 0
Valves
Valve box and concrete support, joint, include cut pipes where necessary and test complete with T-pieces and couplings where necessary for:
"AVK" or equal and approved RSV gate valves
71 | 75mm Diameter (flanged) | No | 2 |  | 0
Fire hydrants complete with T-pieces and extensions on HDPE pipes on, as indicated on standard DWG no. W2
72 | 75mm Diameter | No | 2 |  | 0
Ancillaries
73 | Anchor/Thrust blocks and pedestals | m³ | 6 |  | 0
74 | Markers for valves and firehydrants | No | 4 |  | 0
Valve chambers and manholes
75 | Fire hydrant chambers complete to dwg no W2 for depths up to 1,5 m | No | 0 |  | 0
Sundries
Connect to existing water main on:
76 | 75mm Diameter uPVC | No | 2 |  | 0
77 | Domestic water standpipe | No | 2 |  | 0
78 | Domestic water meter chamber, complete with all pipes, valves and fittings | No | 2 |  | 0
VERMIN AND RODENT ERADICATION FOR WAREHOUSE A & B
79 | ECO-Friendly rat and mouse poison | kg | 10 |  | 0
80 | Protection holders and containers | No | 10 |  | 0
81 | Poison warning signs | No | 10 |  | 0
GANTRY CRANE AND ASSOCIATED WORK FOR WAREHOUSE A & B
82 | 2,0 Ton full motorised and automatic overhead gantry crane (colour code - black and yellow) | No | 1 |  | 0
Replacement of severely corroded steel plates
Steelwork Grade S355JR to SANS 1431, including of steelwork including fabrication, shop detail drawings, cleats, end plates, stiffeners, bolts and gusset plates:
83 | 3mm Thick steel sheet | t | 1 |  | 0
84 | 4mm Thick steel sheet | t | 1 |  | 0
85 | 5mm Thick steel sheet | t | 1 |  | 0
GANTRY BEAM AND ASSOCIATED WORK FOR WAREHOUSE A & B
86 | Galvanised 254 x 146 x 31kg I-beam with PC 200 x 75 crane beams including all bolts | Item | 1 |  | 0
SUNDRIES
87 | Maintenance on entire dust suppression system as installed in this contract for a period of 12 calendar months | Item | 1 |  | 0
1 | Electrical Installation | Page | 50
2 | Mechanical Installation | Page | 58
WORKS TO EXISTING PLANT
88 | Contrator is to provide a sum for the thourough assessment and refurbishment of the existing dosing plant, including the purchasing, delivery and installation of necessary parts. Plant is to left in a good working condition and working space to be cleared post refurbishments | Item | 1 |  | 0
SECTION 4
PRICE LIST NO. 1
SITE CLEARANCE ETC
Site clearance
1 | Digging up and removing rubbish, debris, vegetation, hedges, shrubs and trees not exceeding 200mm girth, bush, etc | m² | 613 |  | 0
2 | Stripping average 150mm thick layer of top soil and stockpiling on site | m² | 613 |  | 0
Tests & surveys
3 | Topographical survey and underground services scanning at each location, undertaken by a registered surveyor, to verify existing subsurface information and site conditions | No | 2 |  | 0
SECTION 4
PRICE LIST NO. 2
BULK EXCAVATION, FILLING, ETC
Open face excavation in earth or compacted filling
1 | Not exceeding 2m deep | m³ | 184 |  | 0
Extra over trench and hole excavation in earth for excavation in
2 | Soft rock | m³ | 18 |  | 0
3 | Hard rock | m³ | 9 |  | 0
Extra over all excavations for carting away
4 | Surplus material from excavations and/or stockpiles on site to a dumping site to be located by the contractor | m³ | 212 |  | 0
Earth filling obtained from the excavations and/or prescribed stock piles on site including haulage approximately 150m from perimeter of excavations or stock piles compacted in layers of 150mm to 100% Mod AASHTO density
5 | Over site to form platforms | m³ | 190 |  | 0
Earth filling supplied by the contractor
6 | (G7) Crusher sand filling compacted to 95% Mod AASHTO density in layers not exceeding 150mm thick | m³ | 92 |  | 0
De-watering of seepage water and water from other subterranean sources in excavations (on site verification required for payment)
7 | Keeping excavations free of subterranean water | Item | 1 |  | 0
Tests & surveys
8 | Geotechnical investigation and reporting at each location, including site sampling, in‑situ testing, laboratory analysis, and professional reporting by a registered geotechnical engineer to determine subsurface conditions and soil properties | No | 2 |  | 0
SECTION 4
PRICE LIST NO. 3
ROADS, PAVINGS ETC.
Masonry
Precast concrete finished smooth on exposed surfaces including bedding, jointing and pointing
1 | Half-round channel (W3) 480 x 190mm high set in class 20/19 concrete haunching including excavation, backfilling, etc | m | 128 |  | 0
CONCRETE STEPS AND APRONS
Earthworks
Excavation in earth not exceeding 2m deep
2 | Reduced levels under floors | m³ | 19 |  | 0
3 | Thickening under surface beds | m³ | 5 |  | 0
Extra over all excavations for carting away
4 | Surplus material from excavations and/or stockpiles on site to a dumping site to be located by the contractor | m³ | 24 |  | 0
Risk of collapse of excavations
5 | Sides of trench and hole excavations not exceeding 1,5m deep | m² | 22 |  | 0
Filling
Earth filling obtained from the excavations and compacted to 93% Mod AASHTO density in layers not exceeding 200mm thick
6 | Under floors, steps, pavings, etc | m³ | 7 |  | 0
Earth filling supplied by the contractor under roads paving, etc
7 | (G7) Crusher sand filling under roads, paving etc 95% Mod AASHTO density in layers not exceeding 150mm thick | m³ | 44 |  | 0
8 | (G5) Crushed stone filling under roads, paving etc and compacted to 95% Mod AASHTO density in layers not exceeding 150mm thick | m³ | 32 |  | 0
9 | (G4) Crushed stone filling under floors, ramps, etc | m³ | 12 |  | 0
Compaction of surfaces
10 | Compaction of ground surface under floors, foundations etc including scarifying for a depth of 150mm, breaking down oversize material, adding suitable material where necessary and compacting to 93% Mod AASHTO density | m² | 242 |  | 0
Reinforced concrete
30MPa/19mm Strength concrete
11 | Aprons, surface beds on waterproofing | m³ | 21 |  | 0
12 | Ramps on waterproofing | m³ | 12 |  | 0
Unreinforced concrete
30MPa/19mm Strength concrete
13 | Steps including landings, beams and inverted beams | m³ | 1 |  | 0
Sundries
Finishing top surfaces of concrete smooth with a power float (degree of accuracy I (SANS 1200-G))
14 | Surface beds, slabs, etc | m² | 83 |  | 0
Finishing top surfaces of concrete smooth with a steel float
15 | Surface beds, slabs, etc to falls | m² | 157 |  | 0
16 | Steps, including reedings | m² | 1 |  | 0
Rough formwork (degree of accuracy II)
Rough formwork to sides
17 | Edges, risers, ends and reveals not exceeding 300mm high or wide | m | 37 |  | 0
18 | Sloping and stepped outer edges of stairs 325mm high extreme | m | 3 |  | 0
19 | Edges, risers, ends and reveals exceeding 300mm high or wide | m² | 12 |  | 0
Expansion joint with 12mm "Jointex" between vertical concrete or concrete and brick surfaces
20 | 12mm Joints not exceeding 300mm deep in floors | m | 3 |  | 0
Reinforcement
High tensile steel reinforcement to structural concrete work
21 | Varying diameter bars | t | 0.65 |  | 0
Fabric reinforcement
22 | Ref 193 mesh reinforcement in concrete surface beds, slabs, etc | m² | 160 |  | 0
23 | Ref 395 mesh reinforcement in walls, etc | m² | 83 |  | 0
Waterproofing
One layer of 250 micron "Consol Plastics Gunplas USB Green" or equal and approved waterproof sheeting sealed at laps with "Gunplas Pressure Sensitive Tape" or equal and approved
24 | Under surface beds, etc | m² | 127 |  | 0
"Sikaflex Pro-2HP" or equal and approved sealing compound including backing cord, bond breaker, primer, etc all in accordance with manufacturer's specification
25 | 10 x 10mm In joints in horizontal surfaces | m | 3 |  | 0
Plastering
Untinted granolithic on concrete
26 | 30mm Thick on floors and landings rendered non-slip | m² | 3 |  | 0
27 | 30mm Thick on treads and risers including reedings and chamfered edge to tread edge | m² | 1 |  | 0
Cement plaster on concrete
28 | On sides of steps | m² | 1 |  | 0
Sundries
29 | Provide a budgetary allowance of R 38 500,00 for external building signage | Item | 1 |  | 0
SECTION 4
PRICE LIST NO. 4
SOIL AND WASTE DRAINAGE
Method "B" in clause 5 - Plumbing and Drainage of the Standard System of Measuring Building Work is applicable. All excavations, risk of collapse, cart away backfilling required (imported or existing) and class C bedding is to be included with the items below
uPVC Heavy duty (SDR34) pipes
1 | 110mm Pipes laid in and including trenches exceeding 1m deep and not exceeding 2m deep | m | 167 |  | 0
2 | 160mm Pipes laid in and including trenches not exceeding 1m deep | m | 150 |  | 0
Extra over uPVC pipes for fittings
3 | 110mm Bend | No | 26 |  | 0
4 | 160mm Bend | No | 22 |  | 0
5 | 110mm Junction | No | 15 |  | 0
6 | 160mm Junction | No | 13 |  | 0
7 | 160 x 110mm Reducing junction | No | 11 |  | 0
uPVC Rodding eyes and gulleys (Refer to civil engineers drawings attached)
8 | 110mm Rodding eye, with and including 45 degree uPVC rodding eye | No | 2 |  | 0
9 | 110mm Dished gulley exceeding 750 and not exceeding 1 000mm deep with and including 330 x 330 x 120mm high slotted pre-cast concrete gulley top, 110mm uPVC gulley, grating and P-trap. | No | 5 |  | 0
Sundries
10 | Hand excavation to locate services | m³ | 1 |  | 0
11 | Cutting into side of existing inspection chamber for and connecting 160mm pipe including junctions and making good concrete benching | No | 2 |  | 0
12 | Testing external drainage pipe system | Item | 1 |  | 0
13 | Budgetary provision for connection to existing infrastructure | Item | 1 |  | 0
SECTION 4
PRICE LIST NO. 8
SUBSOIL DRAINAGE
Method "B" in clause 5 - Plumbing and Drainage of the Standard System of Measuring Building Work is applicable. All excavations, risk of collapse, shoring, cart away backfilling required (imported or existing) and bedding is to be included with the items below
"Flo-pipe" or equal and approved slotted HDPE pipes
1 | 110mm HDPE pipe laid in bio retention area including trenches not exceeding 1m deep, stone and geofabrick elsewhere measured | m | 51 |  | 0
Extra over HDPE pipes for fittings
2 | 110mm Junction | No | 11 |  | 0
3 | 110mm Rodding eye with 500mm diameter x 200mm thick mass concrete surround (Refer to civil engineers' drawing: Stormwater details sheet 2 of 2: Typical rodding eye detail) | No | 11 |  | 0
SECTION 4
PRICE LIST NO. 9
STORMWATER DRAINAGE
Method "B" in clause 5 - Plumbing and Drainage of the Standard System of Measuring Building Work is applicable. All excavations, risk of collapse, shoring, cart away backfilling required (imported or existing) and bedding is to be included with the items below
CONCRETE STORMWATER CHANNELS, ETC
Precast concrete
"Armorflex 140" or equal and approved precast concrete grass blocks finished smooth on exposed surfaces
1 | 340 x 400 x 95mm High 35MPa grass blocks laid to falls on and including sand bedding layer including filling the blocks with garden soil and shaping and surface preparation | m² | 75 |  | 0
STORMWATER SWALE
Excavation in earth not exceeding 2m deep
2 | Average 470mm deep over site etc to reduce levels for shaped earthworks channel | m³ | 46 |  | 0
Extra over all excavations for carting away
3 | Surplus material from excavations and/or stockpiles on site to a dumping site to be located by the contractor | m³ | 46 |  | 0
Earth filling supplied by the contractor
4 | (G7) Crusher sand filling compacted to 95% Mod AASHTO density in layers not exceeding 150mm thick | m³ | 24 |  | 0
Topsoil, compost, lime and fertilizer (all to be worked into soil after ripping and rotavation to a depth of 450mm and finished to final levels)
5 | In landscape mounds, berms, etc | m³ | 12 |  | 0
Compaction of surfaces
6 | Compaction of ground surface under floors etc including scarifying for a depth of 300mm, breaking down oversize material, adding suitable material where necessary and compacting to 93% Mod AASHTO density | m² | 75 |  | 0
Filter fabric
7 | A2 bidim geotextile | m² | 75 |  | 0
Grassing
8 | Seeded Grass | m² | 75 |  | 0
STORMWATER DRAINAGE
Class 100D concrete pipes
9 | 300mm Pipes laid in and including trenches exceeding 1m and not exceeding 2m deep | m | 150 |  | 0
Inspection chambers (gratings and covers elsewhere)
10 | Gulley inlet size, 890 x 890mm exceeding 750mm and not exceeding 1 000mm deep internally | No | 4 |  | 0
11 | 1 250mm Diameter precast concrete circular inspection chamber, exceeding 1 000mm and not exceeding 1 250mm deep internally | No | 4 |  | 0
Gratings, covers, etc
12 | 450 x 450 Medium duty grating and frame | No | 4 |  | 0
13 | 560mm Diameter heavy duty lockable manhole cover and frame | No | 4 |  | 0
Sundries
14 | Cutting into side of existing inspection chamber for and connecting 300mm pipe including junctions and making good concrete benching | No | 2 |  | 0
15 | Testing stormwater pipe system | Item | 1 |  | 0
16 | Budgetary provision for connection to existing infrastructure | Item | 1 |  | 0
SECTION 4
PRICE LIST NO. 5
EXTERNAL WATER MAIN SUPPLY AND WATER SUPPLY TO FIRE SERVICES
Method "B" in clause 5 - Plumbing and Drainage of the Standard System of Measuring Building Work is applicable. All excavations, risk of collapse, cart away backfilling required (imported or existing) and class C bedding is to be included with the items below
Class 12 uPCV pressure pipes
1 | 110mm Pipes laid in and including trenches not exceeding 1m deep | m | 422 |  | 0
Class 16 uPVC pressure pipes
2 | 110mm Pipes laid in and including trenches not exceeding 1m deep | m | 276 |  | 0
Extra over HDPE pressure pipes for (compression / electrofusion) fittings
Bends
3 | 110mm 90 Degree bend | No | 77 |  | 0
End caps
4 | 110mm End cap | No | 35 |  | 0
Junctions
5 | 110mm Junction | No | 49 |  | 0
Extra over pressure pipes for cast iron pressure fittings
6 | 80mm Adaptor coupling | No | 2 |  | 0
7 | 80mm Fire hydrant tee | No | 2 |  | 0
Taps, valves, etc
8 | 110mm Cast iron plain ended class 16 gate valve with cap top and socket ends | No | 9 |  | 0
9 | 110mm Cast iron plain ended class 16 non-return valve with cap top and socket ends | No | 4 |  | 0
10 | 110mm Non-return valve with socket ends | No | 2 |  | 0
11 | Twin booster connection and suction hydrant including galvanised mild steel pipe and unreinforced concrete pedestal, 10mm stainless steel, glycerine filled, 2500 kPa, pressure gauge, including necessary excavation, formwork, signage and two coats of paint to exposed surfaces (Refer to civil engineers drawings attached) | No | 2 |  | 0
12 | Fire hydrant including galvanised mild steel pipe and unreinforced concrete pedestal including necessary excavation, formwork, signage and two coats of paint to exposed surfaces (Refer to civil engineers drawings attached) | No | 2 |  | 0
Sumps, catchpits, inspection chambers, etc (gratings and covers elsewhere) (Refer to civil engineers drawings attached, drawings C1732-W-P-305)
13 | Brick valve chamber, with ductile iron frame and cover (type D1) size, 415 x 415mm including all necessary excavations and back excavation of vertical sides of excavations in earth for working space exceeding 500mm and not exceeding 1 500mm deep including clean sand backfilling compacted to 100% Mod AASHTO | No | 9 |  | 0
Bulk water meter and pipe connections (Refer to civil engineers drawing: Water meter chamber details - Municipal water meter chamber)
The following in components, fittings and valves associated with the bulk water meter installation: All stainless steel couplings and fittings shall be grade 316 The valves must be provided with sinter epoxy powder coating on both internal and external metal surfaces and must be left hand closing and fitted with a spindle captop fixed with stainless steel bolts and grub screws. All nuts, bolts, hooks or other steel items that are not protected by the hot applied epoxy shall be stainless steel grade 316. All flange drilling shall comply with T/D BS10
14 | Puddle piece flanged both ends | No | 2 |  | 0
15 | "Kent" or equal and approved strainer, flanged both ends | No | 2 |  | 0
16 | Spool piece flanged both ends with pressure nipple and 25mm ball valve | No | 2 |  | 0
17 | Bulk water meter chamber 2 100 x 1 700 x 1 200mm deep internally, built with one brick wall sides on 150mm thick 25Mpa/19mm reinforced concrete base with 300 x 300mm concrete plinth (height to be determined on site), with 300 x 300 x 75mm sump including 50mm thick 15Mpa/19mm unreinforced concrete blinding which projects 50mm beyond base and walls and 150mm thick 30Mpa/19mm reinforced concrete cover slab with one rebated opening for frame and cover (frame and cover elsewhere) and plastered on exposed surfaces including all necessary excavations and back excavation of vertical sides of excavations in earth for working space exceeding 500mm and not exceeding 1 500mm deep including clean sand backfilling compacted to 100% Mod AASHTO | No | 2 |  | 0
18 | Flanged AVK swing check valve | No | 2 |  | 0
19 | Spool piece flanged both ends | No | 2 |  | 0
20 | Puddle piece flanged one end | No | 2 |  | 0
21 | "Viking Johnson" or equal and approved flanged adaptor | No | 2 |  | 0
22 | 600mm Diameter "Saint Gobain Securex Z-600 or equal approved hinged lockable manhole cover and frame | No | 2 |  | 0
23 | Flanged AVK gate valve with cap type 3a bell-toby and 160mm uPVC pipe or similar | No | 2 |  | 0
24 | Mild steel S-bend complete with ranger flange adaptor to suite size and material of main pipe | No | 2 |  | 0
25 | 100mm Diameter "Sensus Meitwin" or equal approved flanged combination water meter | No | 2 |  | 0
Sundries
26 | Unreinforced concrete in thrust blocks at bends, tees, etc including necessary extra excavations, formwork, etc | m³ | 8 |  | 0
27 | Dig for and locate existing water main, cutting into existing 110mm HDPE water pipe for and forming junction with new 110mm uPVC pipe | No | 4 |  | 0
28 | Testing external water pipe system | Item | 1 |  | 0
29 | Testing external fire water pipe system | Item | 1 |  | 0
30 | Budgetary provision for connection to existing infrastructure | Item | 1 |  | 0
1 | Site clearance | Page | 60 | 0
2 | Bulk Earthworks | Page | 61 | 0
3 | Roads, Paving, Etc. | Page | 65 | 0
4 | Soil & Waste Drainage | Page | 67 | 0
5 | Subsoil Drainage | Page | 68 | 0
6 | Stormwater | Page | 71 | 0
7 | Water Supply | Page | 75 | 0
FINAL SUMMARY
1 | SECTION 1 - SCHEDULED ESTABLISHMENT, OVERHEADS & INCIDENTAL COSTS | Page | 2 |  | 0
2 | SECTION 2 - BUILDING WORKS | Page | 36 |  | 0
3 | SECTION 3 - MECHANICAL & ELECTRICAL | Page | 59 |  | 0
4 | SECTION 4 - EXTERNAL WORKS | Page | 76 |  | 0
| SUB TOTAL | ST | 0 |  | 0
| The Contractor shall achieve in the performance of the contract the Contract Skills Development Goal (CDSG) established in the CIDB Standard for Developing skills through Infrastructure Contract, publish in Gazette Notice No.43495 of July 2020. To be calculated as 0.25% x Total amount (section 1 - section 4) |  | 0.25% |  | 0
| SUB TOTAL | ST | 0 |  | 0
| Provide an amount for the B.U.I.L.D Programme Participation Fee in line with CIDB requirements. B.U.I.L.D Participation Fee to be calculated as = (0.2%) x Subtotal of the tendered amount) |  | 0.2% | 0 | 0
| Total carried to Form of Offer and Acceptance C1.1 (sum of Sections 1–4 + CDSG + B.U.I.L.D Programme Participation Fee), excluding VAT. | ST | 0 |  | 0
| VALUE ADDED TAX @15% |  |  |  | 0
0
| Total Carried to form of offer and acceptance c1.1 Incl. VAT |  |  |  | 0